## spec
नेपाल सरकार कृषि तथा पशुपंछी विकास मन्त्रालय प्लाण्ट क्वारेण्टाइन तथा विषादी व्यवस्थापन केन्द्र हरिहरभवन, ललितपुर
प्रस्तुत विषयमा यस केन्द्रको आ.व. २०८२/८३ मा सञ्चालन गरिने विभिन्न कार्यक्रमहरु तर्फ खरिद गर्नु पर्ने मालसामानको सार्वजनिक खरिद ऐन २०६३ को दफा ५ तथा सार्वजनिक खरिद नियमावली २०६४ को नियम ९ र ११ बमोजिम लागत अनुमान प्रयोजनार्थ मालसामानहरुको बजारमूल्य आवश्यक परेकोले सम्बन्धित सामानहरुको कारोबार गर्ने फर्म वा वितरक संस्थाहरुले के कति मूल्यमा यस केन्द्रमा उपलब्ध गराउन सकिन्छ सामानहरुको स्पेसिफिकेसन सहितको बजारभाउ तपसिलको ढाँचाममा केन्द्रमा वा इमेल info@npponepal.com मा उपलब्ध गराउनुहुन यो सूचना प्रकाशन गरिएको छ। दरभाउ पेश गर्दा आवश्यक कागजातहरु १. संस्थाको आधिकारिक लेटरहेडमा निवेदनसहित २. संस्था/फर्म दर्ता प्रमाणपत्र तथा कर चुक्ता प्रमाणपत्रको प्रतिलिपि. ३. पान/भ्याट दर्ता प्रमाणपत्रको प्रतिलिपि ४. मालसामन सम्बन्धि ब्रोसर (सम्भव भएको हकमा)
क्र.सं. | नाम | न्यूनतम स्पेसिफिकेशन | Proposed Specification by Suppliers | Rate (including VAT and applicable taxes) NPR | Rate in Word | Warranty period (Year) | Calibration support available (Yes/NO) | Remarks
Methyl Bromide Fumigation पूर्वाधार स्थापना तथा संचालन सम्बन्धी आवश्यक मालसामानहरु
1 | Methyl Bromide (gas) | Technical grade (100%) or with 2% Chloropicrin, Containder: Can or Cylinder | Make and Model Country of Origin Proposed Specification Offered Services if any |  |  |  |  | Mention Shelf life
2 | Fumigation sheets (covers) | The sheets shall be manufactured from low-density polyethylene (LDPE) films, with a minimum thickness of 200 GSM, multi-layered, cross-laminated, and tested to ensure a Methyl Bromide permeability of less than 0.02 g/m²/day. | Make and Model Country of Origin Proposed Specification Offered Services if any
3 | Gas Leak Checker | A gas leak checker (Riken or equivalent) with a detection range of 0–200 ppm for Methyl Bromide. The equipment shall be equipped with a red LED-illuminated level meter and buzzer alarm, feature a high-sensitivity, long-life semiconductor sensor, and battery operated with air-flow rate of 300 ml/min. | Make and Model Country of Origin Proposed Specification Offered Services if any
4 | Halide Leak detector | Halide leak detector consists of a fuel tank, a valve assembly to regulate fuel flow, a burner head assembly where the fuel and the air mixture unite and the copper plate or cone assembly, where the visible flame reacts in color to the halogen fumigants. The air mixture to be tested is fed to the burner assembly by an attached search hose. | Make and Model Country of Origin Proposed Specification Offered Services if any
5 | Vaporizer fitted with LPG or Electric Heater | A vaporizer consists of an inner stainless cylindrical vessel with a diameter of 270 mm and a height of 340 mm with a stainless steel cowling (outer jacket)) up to 250 mm made out of stainless steel sheet of 1.6 mm thickness. The cowling extends up to a minimum of 100 mm at the bottom with air inlets for housing the burner. The cowling is needed to direct the heat produced by the burner up and around the sides of the water container and protect the flame against gushing wind. A12 meter of copper pipe with outer diameter of 12 mm should be used as heat exchanger. The pipe should be twisted into a double coil for this purpose and whole coil provide a heat transfer surface of about 0.1 m2 for each kilogram of fumigant to be vaporized per minute. The heat exchanger should be fitted into inner vessel with the help of brass and copper fittings such that one end of the pipe can be connected to the MB cylinder / MB can applicator tube and the other end is connected to gas distribution line to deliver hot gas into the fumigation enclosure. A three- ring gas burner with adjustable knobs should be used for heating. A suitable dial type thermometer should be fitted to the inner container to measure the temperature of water. The edges of the inner container top should be folded inside and also the cowling (outer jacket to avoid injury. A suitable lid for closing the container to prevent escape of heat and handle should be provided to facilitate carrying the container. | Make and Model Country of Origin Proposed Specification Offered Services if any
6 | Gas Monitoring Equipment | Gas Indicator (Riken or equivalent) or Fumiscope or Gow-Mac or any Standard monitoring equipment capable of measuring Methyl bromide concentrations with a range between 0- 200 mg/l. | Make and Model Country of Origin Proposed Specification Offered Services if any
7 | Gas distribution pipes | PVC flexible rayon braided hose with inner diameter of 6m and outer diameter of 12 mm with the thickness of 3mm | Make and Model Country of Origin Proposed Specification Offered Services if any
8 | Gas sampling tube/pipes | The sampling lines should be made up of crushproof nylon (2mm ID hydraulic hose is effective). | Make and Model Country of Origin Proposed Specification Offered Services if any
9 | MB can applicator | For discharging MB gas from 1 lb or ½ lb cans. | Make and Model Country of Origin Proposed Specification Offered Services if any
10 | Gas detector tubes | MB-gas detector tubes | Make and Model Country of Origin Proposed Specification Offered Services if any
11 | Pump for gas detector tubes | Draeger type | Make and Model Country of Origin Proposed Specification Offered Services if any
12 | Gas Mask | Draeger or equivalent, full vision, face mask as per IS:8523/1977, non-aging, chemical resistant with double reflex sealing flaps, five point harness, panoramic replaceable visor, speech diaphragm, self- demisting facility, inhalation and exhalation valves having provision for holding corrective glasses and thread connection to EN 148-1. | Make and Model Country of Origin Proposed Specification Offered Services if any
13 | Self-Contained Breathing Apparatus (SCBA) | Screw-in, organic type canister (with organic vapours up to a concentration of 5000 ppm for use in surrounding atmospheres with a minimum concentration of 16% Oxygen as per IS:8523/1977. | Make and Model Country of Origin Proposed Specification Offered Services if any
14 | Sand snakes | Sand snakes made up of canvas, ¾ meter length 15 cm width must be filled only 65% - 75% with sand so that they lie flat on the floor | Make and Model Country of Origin Proposed Specification Offered Services if any
15 | Thermometer | 0-100oCwith divisions up to 1oC each, calibrated. | Make and Model Country of Origin Proposed Specification Offered Services if any
16 | Axial Fans | Axial fan with a minimum of 70m³/min (2500 CFM) | Make and Model Country of Origin Proposed Specification Offered Services if any
17 | Calculator | Pocket type | Make and Model Country of Origin Proposed Specification Offered Services if any
18 | Measuring Tape | 25m length, roll-in type | Make and Model Country of Origin Proposed Specification Offered Services if any
19 | Stopwatch | 0-60 seconds with divisions of 5 seconds each. | Make and Model Country of Origin Proposed Specification Offered Services if any
20 | Adhesive/Sealing tape | 5 cm width PVC tape | Make and Model Country of Origin Proposed Specification Offered Services if any
21 | Resuscitator | Rubber balloon fitted with a nose cap | Make and Model Country of Origin Proposed Specification Offered Services if any
22 | Y/T-connections | Made up of Teflon/brass/S>S with suitable diameter for connecting distribution lines. | Make and Model Country of Origin Proposed Specification Offered Services if any
23 | Gloves | Disposable type | Make and Model Country of Origin Proposed Specification Offered Services if any
24 | Fire Extinguisher | ISO Certified, not crossed the expiry date, ABC Stored (Minimum 4 Kg ) Pressure Type Fire Extinguisher | Make and Model Country of Origin Proposed Specification Offered Services if any
25 | Computer & Camera | Internet & Photography & videography capability | Make and Model Country of Origin Proposed Specification Offered Services if any
26 | Protective apron or boiler suit | Suitable for Methyl Bromide Fumigation | Make and Model Country of Origin Proposed Specification Offered Services if any
27 | MB Recapture Unit including Charcoal | High-grade activated carbon (activated charcoal), | Make and Model Country of Origin Proposed Specification Offered Services if any
28 | Plastic ropes (to hold sheets in place) |  | Make and Model Country of Origin Proposed Specification Offered Services if any
29 | Tool Box |  | Make and Model Country of Origin Proposed Specification Offered Services if any
30 | First Aid box | Should include Basic Medical Supplies, Chemical Exposure Response Items (Critical for Fumigation), Emergency Support Items, | Make and Model Country of Origin Proposed Specification Offered Services if any
. प्रयोगशाला उपकरण सेटअप तथा मर्मत सम्बन्धी आवश्यक मालसामानहरु
31 | Airconditioner AC 2.5 ton | split Type Wall Mounted, Inverter Technology, Power Supply 220–240V, Rotary / Twin Rotary Inverter Compressor, Low noise operation, Complete installation with copper pipe, drainage pipe, and mounting bracket, Standard installation kit included, Minimum 1 year comprehensive warranty, 5 years warranty on compressor, with stabilizer Refrigerant use R32/R410A or any CFC free gases | Make and Model Country of Origin Proposed Specification Offered Services if any
32 | Airconditioner AC 2 ton | split Type Wall Mounted, Inverter Technology, Power Supply 220–240V, Rotary / Twin Rotary Inverter Compressor, Low noise operation, Complete installation with copper pipe, drainage pipe, and mounting bracket, Standard installation kit included, Minimum 1 year comprehensive warranty, 5 years warranty on compressor, with stabilizer Refrigerant use R32/R410A or any CFC free gases | Make and Model Country of Origin Proposed Specification Offered Services if any
33 | Airconditioner AC 1 ton | split Type Wall Mounted, Inverter Technology, Power Supply 220–240V, Rotary / Twin Rotary Inverter Compressor, Low noise operation, Complete installation with copper pipe, drainage pipe, and mounting bracket, Standard installation kit included, Minimum 1 year comprehensive warranty, 5 years warranty on compressor, with stabilizer Refrigerant use R32/R410A or any CFC free gases | Make and Model Country of Origin Proposed Specification Offered Services if any
34 | Conventional PCR machine | Thermal cycling system (enables DNA denaturation, primer annealing and extension, Chamber design; 96 well format, Programme control panel; Set cycle number, temp.and duration of PCR) | Make and Model Country of Origin Proposed Specification Offered Services if any
35 | quantitative PCR machine | Real time detection; Monitor DNA amplification during each cycle, Amplification and Quantification: capacity; Provide accurate amplification and quantification of target DNA/ RNA, Generate cycle threshold values and load of pathogens, Data analysis software with real time visualization. | Make and Model Country of Origin Proposed Specification Offered Services if any
36 | Gel Doc system | UV- visble Light illumination; uses SYBR Green, Gel red, Ethidium bromide etc, High resolution camera and Software integration, | Make and Model Country of Origin Proposed Specification Offered Services if any
37 | Nano drop spectrophotometer | Micro volume requirement (1-2 microlitre of sample), Eliminates for cuvettes or dilution steps, Measures nucleic acid, protein and other biomolecules, Display A260/280, and A 260/230 ratio for nucleic acid purity assessment | Make and Model Country of Origin Proposed Specification Offered Services if any
38 | Refrigerator | temperature range and control; +2 to -25 degree cel., Uniform cooling system, Lockable and digital display or real time monitoring Refrigerant use R32/R410A or any CFC free gases | Make and Model Country of Origin Proposed Specification Offered Services if any